**Village of Amanda, Ohio**

Application for Utility Permit

Open Cut Street, Right-Of-Way, ETC.

Date\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Utility Company\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Phone\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Utility Supervisor\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Location of Project\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Purpose of Project\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Contractor’s Name/Address\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

24 Hour Contact Person\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Project Construction Start Date\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Completion Date\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**If street is to be closed a traffic control plan must be submitted.**

\_\_\_Project security/ construction bond to the Village of Amanda

\_\_\_Notify Amanda Fire Department (740) 969-2629

\_\_\_Notify Sherriff Department (740) 652-7900

\_\_\_ Notify OUPS 1-800-362-2764

Traffic Control Deputy required? Yes\_\_\_\_\_\_\_\_\_\_\_\_ No\_\_\_\_\_\_\_\_\_\_\_\_\_

All pavement cuts to be backfilled with CDF, pavement replacement shall meet the Village of Amanda pavement restoration specifications. Right-of way to be backfilled with 304 aggregate. Traffic warning signals to be placed during construction. Lights required at night, flags/signs required during daylight.

Backfill each day, secure open cuts with safety fence, lights, metal travel plates, etc. all or one when needed. Secure all equipment at eh end of each work day, travel route of hauling dirt, etc. All to be per village permission.

For projects incorporating more than one individual residential lot, or for all commercial and /or industrial projects, a maintenance bond or security in the amount of the estimated project cost must be deposited with the village’s Fiscal Officer before any pavement or sidewalk is disturbed.

Approval of work in the right-of-way does not include a review of the proposed work. Plan review must be completed by the village engineer.

Ralph Martin Village Administrator/Zoning Inspector Approved By:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

116 E. Main St., Amanda, Ohio

(740) 969-4771 Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Application Fee $50.00 - Check #\_\_\_\_\_\_\_\_\_\_\_\_\_\_**